## Physical Plant (1Q)
Physical Plant Assessment (1Q)
Date:
Store: |  |  | Time In:
Time Out:
M.O.D.:
Weather:
Signs, Canopy, Menus, Lighting, Lot
Signage (Main sign/Breakfast & DT), Marquee or LED, Building/Delta sign, Bell tower - current, fully lighted, good condition
Barrel canopy - rust and mold free Lights (patio bulbs, green LED strip, and open sign) - all fully lighted, good condition
Canopy underneath - clean, good condition, mold free 4' canopy light fixtures - rust free, clean, fully lighted Gutter & scuffers - free of debris
Fascia (bull nose) - clean, good condition, clearance signage Neon/Stall Stars - fully lighted
Enter/Exit signs - fully lighted
Side board posters - clean, current, fully lighted
Menu housings/showcases - clean, current, fully lighted, good condition
PAYS - units working at all stalls, inside, drive thru
Drive thru & preview board - clean, current, fully lighted, good condition
Back door light/security lights - good condition, fully lighted
Window neons/LED signs - clean, fully lighted, good condition
Sonic radio - all speakers are working, proper volume level
Outside trash cans - clean, good condition
Lot, Dumpster, Shed, Patio, Tables & Chairs, Power Washer, Grease Trap
Concrete/Asphalt - undamaged, curbs undamaged, lot striped
Street curbs - undamaged, clean, free of debris & trash
Lot/Sidewalks - free from excessive dirt, grease, oil, gum, litter, debris
Dumpster area - free of grease, oil, litter, debris Dumpster lids - closed Gates and corral - clean, good condition
Shed - clean, good condition, organized, locked, proper shelving
Patio area - clean, ash tray clean and in place
Tables & chairs - clean, good condition, organized
Lot program - established and being completed according to mangers job description
Power washer - has proper amount of oil, good condition, put up properly
Grease trap - being cleaned by approved company on a regular basis, trap cover secured
Landscape
Lawn care program - Contract with company to maintain lawn & landscape
Grass - mowed & trimmed (not lower than 3"), bushes/shrubs & trees properly trimmed, good eye appeal
Garden area/rock or mulch beds/flower pots - weed & debris free, nothing dead, good eye appeal
Fence - clean, good condition, free of debris
Irrigation - working properly or winterized
Building
Nichiha/Brick - clean, good condition
Windows & window ledges - clean, good repair, ledges are uncluttered
Canopy poles & beams - clean, painted, good condition
Front doors - clean & clear, good condition
Security height markers - front doors, back door, side door Exterior doors - no visible air gaps around any exterior doors
Back door - clean, good condition (paint & closure), locked (if necessary) Security door - clean, good condition (paint & closure), locked
Side doors - clean, good condition (paint & closure), locked (if necessary)
Roof - clean, free of grease and debris Hood vents - grease collection setup and maintained HVAC - drains are properly plumbed
Restroom(s)
Doors - clean, paint, closures working properly, men/women signs
Interior - clean, organized, odor free, lights & fan operational, hand washing sign Trash can - clean, lined, hands free lid
Sink - working, properly hung, hot water available, good condition
Toilet - clean, working, neatly caulked around base, good condition
Supplied with tissue paper, soap, sanitizer, paper towels or hand dryer
Ceilings & Lights
Recessed lighting - fully lighted, good condition Light shields - clean, good condition
Ceiling tiles - clean, good repair
HVAC vents/Return air registers - working, clean, properly painted, good condition
Emergency exit signs - working, clean, good condition
Dry Goods
Shelves - organized, free of clutter, good condition, product is stored off the floor and is dated, boxes are open according to FSA
Can rack - clean, organized, items properly dated
Ice machine - working, clean (interior & exterior), good quality of ice, Ice bin - being run down and cleaned once per month
Pop rack - clean, organized, proper dates on BNB, proper inventory levels, connectors are cleaned weekly (verify side duty list)
Pre-Chiller - working, clean, has proper amount of water
CO2 tank - clean, working, good condition, chained to the wall, helium/back up tank on hand (chained to the wall)
Storage Area
Cleaning supplies - stored separately away from food and paper, rack organized, chemicals properly labeled, no unauthorized chemicals
Mop sink - working, clean, good condition, has back flow preventer installed
Trash piled neatly out of the way and not blocking exits
Brooms/squeegees/dustpans/hoses/etc - organized, good condition, stored off of floor, back ups on hand
Prep Area
Prep table (including bottom shelf) - clean, organized, good condition Can opener - clean, working correctly
Sink - working, no leaking, clean (inside, outside, and underneath),dishes being put away clean, Sonic Safe labels in place
Faucet & Sprayer/SSDC - working correctly, clean, no leaking, vacumbreaker
Hand washing sink - clean, stocked (soap, sanitizer, paper towels), hand washing sign
Slicers and dicers - clean, sharp blades, good condition
Cutting gloves - on hand, being used
Walls & floors - clean, swept & picked up No standing water
Coney Unit Area
Steamers - working, clean (inside & out), good condition, de-limed,
Heat wells (coney table) - working, clean, heating properly, proper water levels, labeled for proper setting
Chili - correct temp (165-190), hold time, spoon,
Roller grill - working, clean, good condition, labeled for proper setting Roller shelf & surrounding area - clean, good condition
Coney table & shelves - clean, organized, good condition
Sonic Safe Labels in place
Swamp Area
Salt/Bag station - clean, heating properly, fully lighted, scheduled weekly detail cleaning, good condition
Onion Ring dump station (I/A) - clean (including surrounding area), heating properly,
Salt shaker - being used, proper amount, when appropriate, good condition
Waste bucket - clean, utilized, waste recorded,
Fryers - working, clean & good condition (inside & out), sides being scrubbed (with HT gloves) 2x daily, each fryer being boiled out monthly
Fryer cook times - set correctly and as posted, items not being pulled early, FF &TT are cooked from a frozen state
Shortening - good quality, proper level, skimmed frequently, food cooked in proper vats, proper basket use (1,3,2,4), being filtered 2x daily,
Filter machine - working, clean, good condition,
Fryer & sediment baskets - proper amount, good condition, baskets being shaken 1/2 thru cooking time, not dumping product directly into carton.
Proper fryers on during non peak periods (ex. morning or snow day)
Timer - working, clean, good condition, labeled properly, FSA compliant
Sonic Safe labels/posters & appropriate signage - in place, in good condition, (Tong/spatula chart, filter guide, hold times, cook times, production (I/A)
Grease Container Unit
Grease container - working, clean, good condition, outside drain cap locked or ball valve installed, drain cap and surrounding area clean
Grease cart/grease hose - working, clean, good condition
Grill Area
Grill - working, clean, good condition, slope towards grease trough Temp: Left 400 +/-30, Middle 350 +/- 30, Right 200 +30
Clam shell grill (I/A) - working, clean (shelf and surrounding area), good condition, Temp: (top/bottom) 425/350 +/- 30
Grill stand/wall behind/ surrounding area - clean, good condition
Vent hoods - working, clean (inside & out), good condition, return air working,
Vent hood filters - being cleaned nightly and not being left our for an extended period of time, good condition
Timer - working, clean, good condition, labeled properly, FSA compliant
Grill Scraper - properly used, sharp, back up blades on hand
Salt/Pepper shaker - being used, proper amount dispensing, good condition,
Bun toaster - working, clean & good condition (inside & out), conveyor assembly fee of build up (scheduled detail cleaning), back up Teflon sheets (I/A)
Warming drawer - clean, good condition, scheduled weekly detail cleaning, maintains proper product temp
Bun toaster table - clean, good condition, heating, drop in (I/A) heating with proper amount of water, labeled for proper setting
Sonic Safe labels/posters & appropriate signage - in place, in good condition, (Tong/spatula chart, grill cook area, hold times, production (I/A)
Dress Table & surrounding area
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO dates being used, lids being used, product at desired temp (40 or less), properly stocked
Ice bath being used on appropriate items and being used correctly
Bag rack - clean, organized, stickered bags, black sharpie, open end facing out, Dot it labels - in place and in use (Required list below)
Wall behind and surrounding area - clean, good condition
Meat Freezer
Interior/Exterior clean & organized, scheduled weekly detail cleaning, Sonic Safe label in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 0 +/- 10
FSA guidelines being followed, FIFO dates being used, lids being used
Defrosting weekly (verify on duty list)
Reach-in Freezer
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 0 +/- 10, product inside 10 or less
FSA guidelines being followed, FIFO dates being used, lids being used
Defrosting weekly (verify on duty list)
Reach-in Cooler
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO observed, temper tags being used, lids being used
POS Equipment
Monitors & bump bars - working, clean, good condition
Printers & scanners - working, clean, good condition
Switchboards - working, clean, good condition Headset - working, voice tubes & ear muffs in place, good condition, back up's on hand
Menu/LTO promotions/suggestive sell guide - posted at each switchboard, current, good condition
Ice Cream Machine
Operational, interior/exterior clean, seals clean & undamaged, Sonic Safe labels in place
Accurate thermometer in place - cabinet temp (34-38), product temp (18-20)
Air meter - white (17-19), over-run 50-60%
Condenser Coils - clean, filter in place Verify no constant water flow (I/A)
Complete breakdown/cleaning/sanitizing 2x week, run citrus delimer through machine 1x month, change hoses at least 1x month
Shake Machine
Operational, interior/exterior clean, seals clean & undamaged, Sonic Safe labels in place
Accurate thermometer in place - cabinet temp (34-38), product temp (24-26)
Air meter - black (14-16), over-run 50-60%
Condenser Coils - clean, filter in place Verify no constant water flow (I/A)
Complete breakdown/cleaning/sanitizing 2x week, run citrus delimer through machine 1x month, change hoses at least 1x month
Slush Machine(s)
Operational, clean, good condition, on a weekly cleaning schedule
Auto fill is working properly
Condenser Coils - clean, filter in place
Coffee/Tea Machines
Coffee machine - working, clean, good condition, water filter changed bi-annually,
Tea machine - working, clean, good condition, water filter changed quarterly,
Tea urns - clean, urns labeled, hold times being observed, spigots and urns being cleaned properly
Fountainette, Ice Cream Mixing area
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser coild - clean, filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO observed, temper tags being used, lids being used
Sink - working, no leaking, clean (inside, outside, and underneath),dishes being put away clean, Sonic Safe labels in place
Pelouze ice cream scale operational and being used
Pumps & ladles - clean, good condition, set at 1/2 oz
Hot Fudge warmer - clean, good condition, proper product temp(110 - 130)
Blast mixer - clean, good condition, 2 working units on hand, being cleaned after every use, shields in place
Miscellaneous
Lock out/tag out kit - on hand, all there, being used
Spare parts list - has everything on list on hand Tool list - has everything on list on hand
Employee drinks - sitting in a designated area with a receipt
Fire extinguishers - on hand (1 up front, 1 in the back, and 1 at end of the cook isle (chemical), Fire suppression system - working, up to date
Marquee letter changer - on hand, good condition (I/A)
Towel program - following Excel guidelines or Sonic Safe guidelines
First Aid kit - stocked, clean, good condition, blood borne pathogen kit on hand
Alarm system - working, call list is updated, Security camera system - working (all cameras), clean, good condition
Thermostats - properly set, locking cover, good condition
Hand washing sink - clean, stocked (soap, sanitizer, paper towels), hand washing sign
Smoking area - clean, using a real ash tray, designated area, following posted guidelines for smoke breaks
Uniforms - proper amount of inventory on hand, under lock & key
AC filters - changed monthly by GM or approved company
Digital thermometer - working, clean, good condition
Trash cans - clean, lined, good condition, weekly clening schedule (verify side duty list)
Floors - clean, swept as needed, in good repair, free of litter, no standing water Floor drains - clean & odor free
Walls & corner molding - clean, good condition
Duty List (Daily, Weekly, Monthly, Periodic) - posted, being used, good condition
NOTES
1) |  |  | Color Chart
2) |  | Excel Expectations |  | 3
| Needs Improvement |  |  | 2
3) |  |  | Failing | 1
4) |  | Required Stickers
|  | Mayo | Special
5) |  | Mustard | Hickory
|  | Ketchup | Chicken
6) |  | Super | Grilled CK
|  | Toaster | No Cheese
7) |  | Bacon | Sausage
|  | No Onion | Jalapeno
8) |  | Plain | Spicy
9)
10)
11)
12)
13)
14)
15)
16)

## Physical Plant (2Q)
Physical Plant Assessment (2Q)
Date:
Store: |  |  | Time In:
Time Out:
M.O.D.:
Weather:
Signs, Canopy, Menus, Lighting, Lot
Signage (Main sign/Breakfast & DT), Marquee or LED, Building/Delta sign, Bell tower - current, fully lighted, good condition
Barrel canopy - rust and mold free Lights (patio bulbs, green LED strip, and open sign) - all fully lighted, good condition
Canopy underneath - clean, good condition, mold free 4' canopy light fixtures - rust free, clean, fully lighted Gutter & scuffers - free of debris
Fascia (bull nose) - clean, good condition, clearance signage Neon/Stall Stars - fully lighted
Enter/Exit signs - fully lighted
Side board posters - clean, current, fully lighted
Menu housings/showcases - clean, current, fully lighted, good condition
PAYS - units working at all stalls, inside, drive thru
Drive thru & preview board - clean, current, fully lighted, good condition
Back door light/security lights - good condition, fully lighted
Window neons/LED signs - clean, fully lighted, good condition
Sonic radio - all speakers are working, proper volume level
Outside trash cans - clean, good condition
Lot, Dumpster, Shed, Patio, Tables & Chairs, Power Washer, Grease Trap
Concrete/Asphalt - undamaged, curbs undamaged, lot striped
Street curbs - undamaged, clean, free of debris & trash
Lot/Sidewalks - free from excessive dirt, grease, oil, gum, litter, debris
Dumpster area - free of grease, oil, litter, debris Dumpster lids - closed Gates and corral - clean, good condition
Shed - clean, good condition, organized, locked, proper shelving
Patio area - clean, ash tray clean and in place
Tables & chairs - clean, good condition, organized
Lot program - established and being completed according to mangers job description
Power washer - has proper amount of oil, good condition, put up properly
Grease trap - being cleaned by approved company on a regular basis, trap cover secured
Landscape
Lawn care program - Contract with company to maintain lawn & landscape
Grass - mowed & trimmed (not lower than 3"), bushes/shrubs & trees properly trimmed, good eye appeal
Garden area/rock or mulch beds/flower pots - weed & debris free, nothing dead, good eye appeal
Fence - clean, good condition, free of debris
Irrigation - working properly or winterized
Building
Nichiha/Brick - clean, good condition
Windows & window ledges - clean, good repair, ledges are uncluttered
Canopy poles & beams - clean, painted, good condition
Front doors - clean & clear, good condition
Security height markers - front doors, back door, side door Exterior doors - no visible air gaps around any exterior doors
Back door - clean, good condition (paint & closure), locked (if necessary) Security door - clean, good condition (paint & closure), locked
Side doors - clean, good condition (paint & closure), locked (if necessary)
Roof - clean, free of grease and debris Hood vents - grease collection setup and maintained HVAC - drains are properly plumbed
Restroom(s)
Doors - clean, paint, closures working properly, men/women signs
Interior - clean, organized, odor free, lights & fan operational, hand washing sign Trash can - clean, lined, hands free lid
Sink - working, properly hung, hot water available, good condition
Toilet - clean, working, neatly caulked around base, good condition
Supplied with tissue paper, soap, sanitizer, paper towels or hand dryer
Ceilings & Lights
Recessed lighting - fully lighted, good condition Light shields - clean, good condition
Ceiling tiles - clean, good repair
HVAC vents/Return air registers - working, clean, properly painted, good condition
Emergency exit signs - working, clean, good condition
Dry Goods
Shelves - organized, free of clutter, good condition, product is stored off the floor and is dated, boxes are open according to FSA
Can rack - clean, organized, items properly dated
Ice machine - working, clean (interior & exterior), good quality of ice, Ice bin - being run down and cleaned once per month
Pop rack - clean, organized, proper dates on BNB, proper inventory levels, connectors are cleaned weekly (verify side duty list)
Pre-Chiller - working, clean, has proper amount of water
CO2 tank - clean, working, good condition, chained to the wall, helium/back up tank on hand (chained to the wall)
Storage Area
Cleaning supplies - stored separately away from food and paper, rack organized, chemicals properly labeled, no unauthorized chemicals
Mop sink - working, clean, good condition, has back flow preventer installed
Trash piled neatly out of the way and not blocking exits
Brooms/squeegees/dustpans/hoses/etc - organized, good condition, stored off of floor, back ups on hand
Prep Area
Prep table (including bottom shelf) - clean, organized, good condition Can opener - clean, working correctly
Sink - working, no leaking, clean (inside, outside, and underneath),dishes being put away clean, Sonic Safe labels in place
Faucet & Sprayer/SSDC - working correctly, clean, no leaking, vacumbreaker
Hand washing sink - clean, stocked (soap, sanitizer, paper towels), hand washing sign
Slicers and dicers - clean, sharp blades, good condition
Cutting gloves - on hand, being used
Walls & floors - clean, swept & picked up No standing water
Coney Unit Area
Steamers - working, clean (inside & out), good condition, de-limed,
Heat wells (coney table) - working, clean, heating properly, proper water levels, labeled for proper setting
Chili - correct temp (165-190), hold time, spoon,
Roller grill - working, clean, good condition, labeled for proper setting Roller shelf & surrounding area - clean, good condition
Coney table & shelves - clean, organized, good condition
Sonic Safe Labels in place
Swamp Area
Salt/Bag station - clean, heating properly, fully lighted, scheduled weekly detail cleaning, good condition
Onion Ring dump station (I/A) - clean (including surrounding area), heating properly,
Salt shaker - being used, proper amount, when appropriate, good condition
Waste bucket - clean, utilized, waste recorded,
Fryers - working, clean & good condition (inside & out), sides being scrubbed (with HT gloves) 2x daily, each fryer being boiled out monthly
Fryer cook times - set correctly and as posted, items not being pulled early, FF &TT are cooked from a frozen state
Shortening - good quality, proper level, skimmed frequently, food cooked in proper vats, proper basket use (1,3,2,4), being filtered 2x daily,
Filter machine - working, clean, good condition,
Fryer & sediment baskets - proper amount, good condition, baskets being shaken 1/2 thru cooking time, not dumping product directly into carton.
Proper fryers on during non peak periods (ex. morning or snow day)
Timer - working, clean, good condition, labeled properly, FSA compliant
Sonic Safe labels/posters & appropriate signage - in place, in good condition, (Tong/spatula chart, filter guide, hold times, cook times, production (I/A)
Grease Container Unit
Grease container - working, clean, good condition, outside drain cap locked or ball valve installed, drain cap and surrounding area clean
Grease cart/grease hose - working, clean, good condition
Grill Area
Grill - working, clean, good condition, slope towards grease trough Temp: Left 400 +/-30, Middle 350 +/- 30, Right 200 +30
Clam shell grill (I/A) - working, clean (shelf and surrounding area), good condition, Temp: (top/bottom) 425/350 +/- 30
Grill stand/wall behind/ surrounding area - clean, good condition
Vent hoods - working, clean (inside & out), good condition, return air working,
Vent hood filters - being cleaned nightly and not being left our for an extended period of time, good condition
Timer - working, clean, good condition, labeled properly, FSA compliant
Grill Scraper - properly used, sharp, back up blades on hand
Salt/Pepper shaker - being used, proper amount dispensing, good condition,
Bun toaster - working, clean & good condition (inside & out), conveyor assembly fee of build up (scheduled detail cleaning), back up Teflon sheets (I/A)
Warming drawer - clean, good condition, scheduled weekly detail cleaning, maintains proper product temp
Bun toaster table - clean, good condition, heating, drop in (I/A) heating with proper amount of water, labeled for proper setting
Sonic Safe labels/posters & appropriate signage - in place, in good condition, (Tong/spatula chart, grill cook area, hold times, production (I/A)
Dress Table & surrounding area
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO dates being used, lids being used, product at desired temp (40 or less), properly stocked
Ice bath being used on appropriate items and being used correctly
Bag rack - clean, organized, stickered bags, black sharpie, open end facing out, Dot it labels - in place and in use (Required list below)
Wall behind and surrounding area - clean, good condition
Meat Freezer
Interior/Exterior clean & organized, scheduled weekly detail cleaning, Sonic Safe label in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 0 +/- 10
FSA guidelines being followed, FIFO dates being used, lids being used
Defrosting weekly (verify on duty list)
Reach-in Freezer
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 0 +/- 10, product inside 10 or less
FSA guidelines being followed, FIFO dates being used, lids being used
Defrosting weekly (verify on duty list)
Reach-in Cooler
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO observed, temper tags being used, lids being used
POS Equipment
Monitors & bump bars - working, clean, good condition
Printers & scanners - working, clean, good condition
Switchboards - working, clean, good condition Headset - working, voice tubes & ear muffs in place, good condition, back up's on hand
Menu/LTO promotions/suggestive sell guide - posted at each switchboard, current, good condition
Ice Cream Machine
Operational, interior/exterior clean, seals clean & undamaged, Sonic Safe labels in place
Accurate thermometer in place - cabinet temp (34-38), product temp (18-20)
Air meter - white (17-19), over-run 50-60%
Condenser Coils - clean, filter in place Verify no constant water flow (I/A)
Complete breakdown/cleaning/sanitizing 2x week, run citrus delimer through machine 1x month, change hoses at least 1x month
Shake Machine
Operational, interior/exterior clean, seals clean & undamaged, Sonic Safe labels in place
Accurate thermometer in place - cabinet temp (34-38), product temp (24-26)
Air meter - black (14-16), over-run 50-60%
Condenser Coils - clean, filter in place Verify no constant water flow (I/A)
Complete breakdown/cleaning/sanitizing 2x week, run citrus delimer through machine 1x month, change hoses at least 1x month
Slush Machine(s)
Operational, clean, good condition, on a weekly cleaning schedule
Auto fill is working properly
Condenser Coils - clean, filter in place
Coffee/Tea Machines
Coffee machine - working, clean, good condition, water filter changed bi-annually,
Tea machine - working, clean, good condition, water filter changed quarterly,
Tea urns - clean, urns labeled, hold times being observed, spigots and urns being cleaned properly
Fountainette, Ice Cream Mixing area
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser coild - clean, filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO observed, temper tags being used, lids being used
Sink - working, no leaking, clean (inside, outside, and underneath),dishes being put away clean, Sonic Safe labels in place
Pelouze ice cream scale operational and being used
Pumps & ladles - clean, good condition, set at 1/2 oz
Hot Fudge warmer - clean, good condition, proper product temp(110 - 130)
Blast mixer - clean, good condition, 2 working units on hand, being cleaned after every use, shields in place
Miscellaneous
Lock out/tag out kit - on hand, all there, being used
Spare parts list - has everything on list on hand Tool list - has everything on list on hand
Employee drinks - sitting in a designated area with a receipt
Fire extinguishers - on hand (1 up front, 1 in the back, and 1 at end of the cook isle (chemical), Fire suppression system - working, up to date
Marquee letter changer - on hand, good condition (I/A)
Towel program - following Excel guidelines or Sonic Safe guidelines
First Aid kit - stocked, clean, good condition, blood borne pathogen kit on hand
Alarm system - working, call list is updated, Security camera system - working (all cameras), clean, good condition
Thermostats - properly set, locking cover, good condition
Hand washing sink - clean, stocked (soap, sanitizer, paper towels), hand washing sign
Smoking area - clean, using a real ash tray, designated area, following posted guidelines for smoke breaks
Uniforms - proper amount of inventory on hand, under lock & key
AC filters - changed monthly by GM or approved company
Digital thermometer - working, clean, good condition
Trash cans - clean, lined, good condition, weekly clening schedule (verify side duty list)
Floors - clean, swept as needed, in good repair, free of litter, no standing water Floor drains - clean & odor free
Walls & corner molding - clean, good condition
Duty List (Daily, Weekly, Monthly, Periodic) - posted, being used, good condition
NOTES
1) |  |  | Color Chart
2) |  | Excel Expectations |  | 3
| Needs Improvement |  |  | 2
3) |  |  | Failing | 1
4) |  | Required Stickers
|  | Mayo | Special
5) |  | Mustard | Hickory
|  | Ketchup | Chicken
6) |  | Super | Grilled CK
|  | Toaster | No Cheese
7) |  | Bacon | Sausage
|  | No Onion | Jalapeno
8) |  | Plain | Spicy
9)
10)
11)
12)
13)
14)
15)
16)

## Physical Plant (3Q)
Physical Plant Assessment (3Q)
Date:
Store: |  |  | Time In:
Time Out:
M.O.D.:
Weather:
Signs, Canopy, Menus, Lighting, Lot
Signage (Main sign/Breakfast & DT), Marquee or LED, Building/Delta sign, Bell tower - current, fully lighted, good condition
Barrel canopy - rust and mold free Lights (patio bulbs, green LED strip, and open sign) - all fully lighted, good condition
Canopy underneath - clean, good condition, mold free 4' canopy light fixtures - rust free, clean, fully lighted Gutter & scuffers - free of debris
Fascia (bull nose) - clean, good condition, clearance signage Neon/Stall Stars - fully lighted
Enter/Exit signs - fully lighted
Side board posters - clean, current, fully lighted
Menu housings/showcases - clean, current, fully lighted, good condition
PAYS - units working at all stalls, inside, drive thru
Drive thru & preview board - clean, current, fully lighted, good condition
Back door light/security lights - good condition, fully lighted
Window neons/LED signs - clean, fully lighted, good condition
Sonic radio - all speakers are working, proper volume level
Outside trash cans - clean, good condition
Lot, Dumpster, Shed, Patio, Tables & Chairs, Power Washer, Grease Trap
Concrete/Asphalt - undamaged, curbs undamaged, lot striped
Street curbs - undamaged, clean, free of debris & trash
Lot/Sidewalks - free from excessive dirt, grease, oil, gum, litter, debris
Dumpster area - free of grease, oil, litter, debris Dumpster lids - closed Gates and corral - clean, good condition
Shed - clean, good condition, organized, locked, proper shelving
Patio area - clean, ash tray clean and in place
Tables & chairs - clean, good condition, organized
Lot program - established and being completed according to mangers job description
Power washer - has proper amount of oil, good condition, put up properly
Grease trap - being cleaned by approved company on a regular basis, trap cover secured
Landscape
Lawn care program - Contract with company to maintain lawn & landscape
Grass - mowed & trimmed (not lower than 3"), bushes/shrubs & trees properly trimmed, good eye appeal
Garden area/rock or mulch beds/flower pots - weed & debris free, nothing dead, good eye appeal
Fence - clean, good condition, free of debris
Irrigation - working properly or winterized
Building
Nichiha/Brick - clean, good condition
Windows & window ledges - clean, good repair, ledges are uncluttered
Canopy poles & beams - clean, painted, good condition
Front doors - clean & clear, good condition
Security height markers - front doors, back door, side door Exterior doors - no visible air gaps around any exterior doors
Back door - clean, good condition (paint & closure), locked (if necessary) Security door - clean, good condition (paint & closure), locked
Side doors - clean, good condition (paint & closure), locked (if necessary)
Roof - clean, free of grease and debris Hood vents - grease collection setup and maintained HVAC - drains are properly plumbed
Restroom(s)
Doors - clean, paint, closures working properly, men/women signs
Interior - clean, organized, odor free, lights & fan operational, hand washing sign Trash can - clean, lined, hands free lid
Sink - working, properly hung, hot water available, good condition
Toilet - clean, working, neatly caulked around base, good condition
Supplied with tissue paper, soap, sanitizer, paper towels or hand dryer
Ceilings & Lights
Recessed lighting - fully lighted, good condition Light shields - clean, good condition
Ceiling tiles - clean, good repair
HVAC vents/Return air registers - working, clean, properly painted, good condition
Emergency exit signs - working, clean, good condition
Dry Goods
Shelves - organized, free of clutter, good condition, product is stored off the floor and is dated, boxes are open according to FSA
Can rack - clean, organized, items properly dated
Ice machine - working, clean (interior & exterior), good quality of ice, Ice bin - being run down and cleaned once per month
Pop rack - clean, organized, proper dates on BNB, proper inventory levels, connectors are cleaned weekly (verify side duty list)
Pre-Chiller - working, clean, has proper amount of water
CO2 tank - clean, working, good condition, chained to the wall, helium/back up tank on hand (chained to the wall)
Storage Area
Cleaning supplies - stored separately away from food and paper, rack organized, chemicals properly labeled, no unauthorized chemicals
Mop sink - working, clean, good condition, has back flow preventer installed
Trash piled neatly out of the way and not blocking exits
Brooms/squeegees/dustpans/hoses/etc - organized, good condition, stored off of floor, back ups on hand
Prep Area
Prep table (including bottom shelf) - clean, organized, good condition Can opener - clean, working correctly
Sink - working, no leaking, clean (inside, outside, and underneath),dishes being put away clean, Sonic Safe labels in place
Faucet & Sprayer/SSDC - working correctly, clean, no leaking, vacumbreaker
Hand washing sink - clean, stocked (soap, sanitizer, paper towels), hand washing sign
Slicers and dicers - clean, sharp blades, good condition
Cutting gloves - on hand, being used
Walls & floors - clean, swept & picked up No standing water
Coney Unit Area
Steamers - working, clean (inside & out), good condition, de-limed,
Heat wells (coney table) - working, clean, heating properly, proper water levels, labeled for proper setting
Chili - correct temp (165-190), hold time, spoon,
Roller grill - working, clean, good condition, labeled for proper setting Roller shelf & surrounding area - clean, good condition
Coney table & shelves - clean, organized, good condition
Sonic Safe Labels in place
Swamp Area
Salt/Bag station - clean, heating properly, fully lighted, scheduled weekly detail cleaning, good condition
Onion Ring dump station (I/A) - clean (including surrounding area), heating properly,
Salt shaker - being used, proper amount, when appropriate, good condition
Waste bucket - clean, utilized, waste recorded,
Fryers - working, clean & good condition (inside & out), sides being scrubbed (with HT gloves) 2x daily, each fryer being boiled out monthly
Fryer cook times - set correctly and as posted, items not being pulled early, FF &TT are cooked from a frozen state
Shortening - good quality, proper level, skimmed frequently, food cooked in proper vats, proper basket use (1,3,2,4), being filtered 2x daily,
Filter machine - working, clean, good condition,
Fryer & sediment baskets - proper amount, good condition, baskets being shaken 1/2 thru cooking time, not dumping product directly into carton.
Proper fryers on during non peak periods (ex. morning or snow day)
Timer - working, clean, good condition, labeled properly, FSA compliant
Sonic Safe labels/posters & appropriate signage - in place, in good condition, (Tong/spatula chart, filter guide, hold times, cook times, production (I/A)
Grease Container Unit
Grease container - working, clean, good condition, outside drain cap locked or ball valve installed, drain cap and surrounding area clean
Grease cart/grease hose - working, clean, good condition
Grill Area
Grill - working, clean, good condition, slope towards grease trough Temp: Left 400 +/-30, Middle 350 +/- 30, Right 200 +30
Clam shell grill (I/A) - working, clean (shelf and surrounding area), good condition, Temp: (top/bottom) 425/350 +/- 30
Grill stand/wall behind/ surrounding area - clean, good condition
Vent hoods - working, clean (inside & out), good condition, return air working,
Vent hood filters - being cleaned nightly and not being left our for an extended period of time, good condition
Timer - working, clean, good condition, labeled properly, FSA compliant
Grill Scraper - properly used, sharp, back up blades on hand
Salt/Pepper shaker - being used, proper amount dispensing, good condition,
Bun toaster - working, clean & good condition (inside & out), conveyor assembly fee of build up (scheduled detail cleaning), back up Teflon sheets (I/A)
Warming drawer - clean, good condition, scheduled weekly detail cleaning, maintains proper product temp
Bun toaster table - clean, good condition, heating, drop in (I/A) heating with proper amount of water, labeled for proper setting
Sonic Safe labels/posters & appropriate signage - in place, in good condition, (Tong/spatula chart, grill cook area, hold times, production (I/A)
Dress Table & surrounding area
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO dates being used, lids being used, product at desired temp (40 or less), properly stocked
Ice bath being used on appropriate items and being used correctly
Bag rack - clean, organized, stickered bags, black sharpie, open end facing out, Dot it labels - in place and in use (Required list below)
Wall behind and surrounding area - clean, good condition
Meat Freezer
Interior/Exterior clean & organized, scheduled weekly detail cleaning, Sonic Safe label in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 0 +/- 10
FSA guidelines being followed, FIFO dates being used, lids being used
Defrosting weekly (verify on duty list)
Reach-in Freezer
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 0 +/- 10, product inside 10 or less
FSA guidelines being followed, FIFO dates being used, lids being used
Defrosting weekly (verify on duty list)
Reach-in Cooler
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO observed, temper tags being used, lids being used
POS Equipment
Monitors & bump bars - working, clean, good condition
Printers & scanners - working, clean, good condition
Switchboards - working, clean, good condition Headset - working, voice tubes & ear muffs in place, good condition, back up's on hand
Menu/LTO promotions/suggestive sell guide - posted at each switchboard, current, good condition
Ice Cream Machine
Operational, interior/exterior clean, seals clean & undamaged, Sonic Safe labels in place
Accurate thermometer in place - cabinet temp (34-38), product temp (18-20)
Air meter - white (17-19), over-run 50-60%
Condenser Coils - clean, filter in place Verify no constant water flow (I/A)
Complete breakdown/cleaning/sanitizing 2x week, run citrus delimer through machine 1x month, change hoses at least 1x month
Shake Machine
Operational, interior/exterior clean, seals clean & undamaged, Sonic Safe labels in place
Accurate thermometer in place - cabinet temp (34-38), product temp (24-26)
Air meter - black (14-16), over-run 50-60%
Condenser Coils - clean, filter in place Verify no constant water flow (I/A)
Complete breakdown/cleaning/sanitizing 2x week, run citrus delimer through machine 1x month, change hoses at least 1x month
Slush Machine(s)
Operational, clean, good condition, on a weekly cleaning schedule
Auto fill is working properly
Condenser Coils - clean, filter in place
Coffee/Tea Machines
Coffee machine - working, clean, good condition, water filter changed bi-annually,
Tea machine - working, clean, good condition, water filter changed quarterly,
Tea urns - clean, urns labeled, hold times being observed, spigots and urns being cleaned properly
Fountainette, Ice Cream Mixing area
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser coild - clean, filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO observed, temper tags being used, lids being used
Sink - working, no leaking, clean (inside, outside, and underneath),dishes being put away clean, Sonic Safe labels in place
Pelouze ice cream scale operational and being used
Pumps & ladles - clean, good condition, set at 1/2 oz
Hot Fudge warmer - clean, good condition, proper product temp(110 - 130)
Blast mixer - clean, good condition, 2 working units on hand, being cleaned after every use, shields in place
Miscellaneous
Lock out/tag out kit - on hand, all there, being used
Spare parts list - has everything on list on hand Tool list - has everything on list on hand
Employee drinks - sitting in a designated area with a receipt
Fire extinguishers - on hand (1 up front, 1 in the back, and 1 at end of the cook isle (chemical), Fire suppression system - working, up to date
Marquee letter changer - on hand, good condition (I/A)
Towel program - following Excel guidelines or Sonic Safe guidelines
First Aid kit - stocked, clean, good condition, blood borne pathogen kit on hand
Alarm system - working, call list is updated, Security camera system - working (all cameras), clean, good condition
Thermostats - properly set, locking cover, good condition
Hand washing sink - clean, stocked (soap, sanitizer, paper towels), hand washing sign
Smoking area - clean, using a real ash tray, designated area, following posted guidelines for smoke breaks
Uniforms - proper amount of inventory on hand, under lock & key
AC filters - changed monthly by GM or approved company
Digital thermometer - working, clean, good condition
Trash cans - clean, lined, good condition, weekly clening schedule (verify side duty list)
Floors - clean, swept as needed, in good repair, free of litter, no standing water Floor drains - clean & odor free
Walls & corner molding - clean, good condition
Duty List (Daily, Weekly, Monthly, Periodic) - posted, being used, good condition
NOTES
1) |  |  | Color Chart
2) |  | Excel Expectations |  | 3
| Needs Improvement |  |  | 2
3) |  |  | Failing | 1
4) |  | Required Stickers
|  | Mayo | Special
5) |  | Mustard | Hickory
|  | Ketchup | Chicken
6) |  | Super | Grilled CK
|  | Toaster | No Cheese
7) |  | Bacon | Sausage
|  | No Onion | Jalapeno
8) |  | Plain | Spicy
9)
10)
11)
12)
13)
14)
15)
16)

## Physical Plant (4Q)
Physical Plant Assessment (4Q)
Date:
Store: |  |  | Time In:
Time Out:
M.O.D.:
Weather:
Signs, Canopy, Menus, Lighting, Lot
Signage (Main sign/Breakfast & DT), Marquee or LED, Building/Delta sign, Bell tower - current, fully lighted, good condition
Barrel canopy - rust and mold free Lights (patio bulbs, green LED strip, and open sign) - all fully lighted, good condition
Canopy underneath - clean, good condition, mold free 4' canopy light fixtures - rust free, clean, fully lighted Gutter & scuffers - free of debris
Fascia (bull nose) - clean, good condition, clearance signage Neon/Stall Stars - fully lighted
Enter/Exit signs - fully lighted
Side board posters - clean, current, fully lighted
Menu housings/showcases - clean, current, fully lighted, good condition
PAYS - units working at all stalls, inside, drive thru
Drive thru & preview board - clean, current, fully lighted, good condition
Back door light/security lights - good condition, fully lighted
Window neons/LED signs - clean, fully lighted, good condition
Sonic radio - all speakers are working, proper volume level
Outside trash cans - clean, good condition
Lot, Dumpster, Shed, Patio, Tables & Chairs, Power Washer, Grease Trap
Concrete/Asphalt - undamaged, curbs undamaged, lot striped
Street curbs - undamaged, clean, free of debris & trash
Lot/Sidewalks - free from excessive dirt, grease, oil, gum, litter, debris
Dumpster area - free of grease, oil, litter, debris Dumpster lids - closed Gates and corral - clean, good condition
Shed - clean, good condition, organized, locked, proper shelving
Patio area - clean, ash tray clean and in place
Tables & chairs - clean, good condition, organized
Lot program - established and being completed according to mangers job description
Power washer - has proper amount of oil, good condition, put up properly
Grease trap - being cleaned by approved company on a regular basis, trap cover secured
Landscape
Lawn care program - Contract with company to maintain lawn & landscape
Grass - mowed & trimmed (not lower than 3"), bushes/shrubs & trees properly trimmed, good eye appeal
Garden area/rock or mulch beds/flower pots - weed & debris free, nothing dead, good eye appeal
Fence - clean, good condition, free of debris
Irrigation - working properly or winterized
Building
Nichiha/Brick - clean, good condition
Windows & window ledges - clean, good repair, ledges are uncluttered
Canopy poles & beams - clean, painted, good condition
Front doors - clean & clear, good condition
Security height markers - front doors, back door, side door Exterior doors - no visible air gaps around any exterior doors
Back door - clean, good condition (paint & closure), locked (if necessary) Security door - clean, good condition (paint & closure), locked
Side doors - clean, good condition (paint & closure), locked (if necessary)
Roof - clean, free of grease and debris Hood vents - grease collection setup and maintained HVAC - drains are properly plumbed
Restroom(s)
Doors - clean, paint, closures working properly, men/women signs
Interior - clean, organized, odor free, lights & fan operational, hand washing sign Trash can - clean, lined, hands free lid
Sink - working, properly hung, hot water available, good condition
Toilet - clean, working, neatly caulked around base, good condition
Supplied with tissue paper, soap, sanitizer, paper towels or hand dryer
Ceilings & Lights
Recessed lighting - fully lighted, good condition Light shields - clean, good condition
Ceiling tiles - clean, good repair
HVAC vents/Return air registers - working, clean, properly painted, good condition
Emergency exit signs - working, clean, good condition
Dry Goods
Shelves - organized, free of clutter, good condition, product is stored off the floor and is dated, boxes are open according to FSA
Can rack - clean, organized, items properly dated
Ice machine - working, clean (interior & exterior), good quality of ice, Ice bin - being run down and cleaned once per month
Pop rack - clean, organized, proper dates on BNB, proper inventory levels, connectors are cleaned weekly (verify side duty list)
Pre-Chiller - working, clean, has proper amount of water
CO2 tank - clean, working, good condition, chained to the wall, helium/back up tank on hand (chained to the wall)
Storage Area
Cleaning supplies - stored separately away from food and paper, rack organized, chemicals properly labeled, no unauthorized chemicals
Mop sink - working, clean, good condition, has back flow preventer installed
Trash piled neatly out of the way and not blocking exits
Brooms/squeegees/dustpans/hoses/etc - organized, good condition, stored off of floor, back ups on hand
Prep Area
Prep table (including bottom shelf) - clean, organized, good condition Can opener - clean, working correctly
Sink - working, no leaking, clean (inside, outside, and underneath),dishes being put away clean, Sonic Safe labels in place
Faucet & Sprayer/SSDC - working correctly, clean, no leaking, vacumbreaker
Hand washing sink - clean, stocked (soap, sanitizer, paper towels), hand washing sign
Slicers and dicers - clean, sharp blades, good condition
Cutting gloves - on hand, being used
Walls & floors - clean, swept & picked up No standing water
Coney Unit Area
Steamers - working, clean (inside & out), good condition, de-limed,
Heat wells (coney table) - working, clean, heating properly, proper water levels, labeled for proper setting
Chili - correct temp (165-190), hold time, spoon,
Roller grill - working, clean, good condition, labeled for proper setting Roller shelf & surrounding area - clean, good condition
Coney table & shelves - clean, organized, good condition
Sonic Safe Labels in place
Swamp Area
Salt/Bag station - clean, heating properly, fully lighted, scheduled weekly detail cleaning, good condition
Onion Ring dump station (I/A) - clean (including surrounding area), heating properly,
Salt shaker - being used, proper amount, when appropriate, good condition
Waste bucket - clean, utilized, waste recorded,
Fryers - working, clean & good condition (inside & out), sides being scrubbed (with HT gloves) 2x daily, each fryer being boiled out monthly
Fryer cook times - set correctly and as posted, items not being pulled early, FF &TT are cooked from a frozen state
Shortening - good quality, proper level, skimmed frequently, food cooked in proper vats, proper basket use (1,3,2,4), being filtered 2x daily,
Filter machine - working, clean, good condition,
Fryer & sediment baskets - proper amount, good condition, baskets being shaken 1/2 thru cooking time, not dumping product directly into carton.
Proper fryers on during non peak periods (ex. morning or snow day)
Timer - working, clean, good condition, labeled properly, FSA compliant
Sonic Safe labels/posters & appropriate signage - in place, in good condition, (Tong/spatula chart, filter guide, hold times, cook times, production (I/A)
Grease Container Unit
Grease container - working, clean, good condition, outside drain cap locked or ball valve installed, drain cap and surrounding area clean
Grease cart/grease hose - working, clean, good condition
Grill Area
Grill - working, clean, good condition, slope towards grease trough Temp: Left 400 +/-30, Middle 350 +/- 30, Right 200 +30
Clam shell grill (I/A) - working, clean (shelf and surrounding area), good condition, Temp: (top/bottom) 425/350 +/- 30
Grill stand/wall behind/ surrounding area - clean, good condition
Vent hoods - working, clean (inside & out), good condition, return air working,
Vent hood filters - being cleaned nightly and not being left our for an extended period of time, good condition
Timer - working, clean, good condition, labeled properly, FSA compliant
Grill Scraper - properly used, sharp, back up blades on hand
Salt/Pepper shaker - being used, proper amount dispensing, good condition,
Bun toaster - working, clean & good condition (inside & out), conveyor assembly fee of build up (scheduled detail cleaning), back up Teflon sheets (I/A)
Warming drawer - clean, good condition, scheduled weekly detail cleaning, maintains proper product temp
Bun toaster table - clean, good condition, heating, drop in (I/A) heating with proper amount of water, labeled for proper setting
Sonic Safe labels/posters & appropriate signage - in place, in good condition, (Tong/spatula chart, grill cook area, hold times, production (I/A)
Dress Table & surrounding area
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO dates being used, lids being used, product at desired temp (40 or less), properly stocked
Ice bath being used on appropriate items and being used correctly
Bag rack - clean, organized, stickered bags, black sharpie, open end facing out, Dot it labels - in place and in use (Required list below)
Wall behind and surrounding area - clean, good condition
Meat Freezer
Interior/Exterior clean & organized, scheduled weekly detail cleaning, Sonic Safe label in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 0 +/- 10
FSA guidelines being followed, FIFO dates being used, lids being used
Defrosting weekly (verify on duty list)
Reach-in Freezer
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 0 +/- 10, product inside 10 or less
FSA guidelines being followed, FIFO dates being used, lids being used
Defrosting weekly (verify on duty list)
Reach-in Cooler
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser Coils clean and filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO observed, temper tags being used, lids being used
POS Equipment
Monitors & bump bars - working, clean, good condition
Printers & scanners - working, clean, good condition
Switchboards - working, clean, good condition Headset - working, voice tubes & ear muffs in place, good condition, back up's on hand
Menu/LTO promotions/suggestive sell guide - posted at each switchboard, current, good condition
Ice Cream Machine
Operational, interior/exterior clean, seals clean & undamaged, Sonic Safe labels in place
Accurate thermometer in place - cabinet temp (34-38), product temp (18-20)
Air meter - white (17-19), over-run 50-60%
Condenser Coils - clean, filter in place Verify no constant water flow (I/A)
Complete breakdown/cleaning/sanitizing 2x week, run citrus delimer through machine 1x month, change hoses at least 1x month
Shake Machine
Operational, interior/exterior clean, seals clean & undamaged, Sonic Safe labels in place
Accurate thermometer in place - cabinet temp (34-38), product temp (24-26)
Air meter - black (14-16), over-run 50-60%
Condenser Coils - clean, filter in place Verify no constant water flow (I/A)
Complete breakdown/cleaning/sanitizing 2x week, run citrus delimer through machine 1x month, change hoses at least 1x month
Slush Machine(s)
Operational, clean, good condition, on a weekly cleaning schedule
Auto fill is working properly
Condenser Coils - clean, filter in place
Coffee/Tea Machines
Coffee machine - working, clean, good condition, water filter changed bi-annually,
Tea machine - working, clean, good condition, water filter changed quarterly,
Tea urns - clean, urns labeled, hold times being observed, spigots and urns being cleaned properly
Fountainette, Ice Cream Mixing area
Interior/Exterior clean & organized, seals clean & undamaged, back up seals on hand, scheduled weekly detail cleaning, Sonic Safe labels in place
Condenser coild - clean, filter in place
Accurate thermometer in place, temperature 34-38 Product inside - 40 or less
FSA guidelines being followed, FIFO observed, temper tags being used, lids being used
Sink - working, no leaking, clean (inside, outside, and underneath),dishes being put away clean, Sonic Safe labels in place
Pelouze ice cream scale operational and being used
Pumps & ladles - clean, good condition, set at 1/2 oz
Hot Fudge warmer - clean, good condition, proper product temp(110 - 130)
Blast mixer - clean, good condition, 2 working units on hand, being cleaned after every use, shields in place
Miscellaneous
Lock out/tag out kit - on hand, all there, being used
Spare parts list - has everything on list on hand Tool list - has everything on list on hand
Employee drinks - sitting in a designated area with a receipt
Fire extinguishers - on hand (1 up front, 1 in the back, and 1 at end of the cook isle (chemical), Fire suppression system - working, up to date
Marquee letter changer - on hand, good condition (I/A)
Towel program - following Excel guidelines or Sonic Safe guidelines
First Aid kit - stocked, clean, good condition, blood borne pathogen kit on hand
Alarm system - working, call list is updated, Security camera system - working (all cameras), clean, good condition
Thermostats - properly set, locking cover, good condition
Hand washing sink - clean, stocked (soap, sanitizer, paper towels), hand washing sign
Smoking area - clean, using a real ash tray, designated area, following posted guidelines for smoke breaks
Uniforms - proper amount of inventory on hand, under lock & key
AC filters - changed monthly by GM or approved company
Digital thermometer - working, clean, good condition
Trash cans - clean, lined, good condition, weekly clening schedule (verify side duty list)
Floors - clean, swept as needed, in good repair, free of litter, no standing water Floor drains - clean & odor free
Walls & corner molding - clean, good condition
Duty List (Daily, Weekly, Monthly, Periodic) - posted, being used, good condition
NOTES
1) |  |  | Color Chart
2) |  | Excel Expectations |  | 3
| Needs Improvement |  |  | 2
3) |  |  | Failing | 1
4) |  | Required Stickers
|  | Mayo | Special
5) |  | Mustard | Hickory
|  | Ketchup | Chicken
6) |  | Super | Grilled CK
|  | Toaster | No Cheese
7) |  | Bacon | Sausage
|  | No Onion | Jalapeno
8) |  | Plain | Spicy
9)
10)
11)
12)
13)
14)
15)
16)

## Admin Asses (1Q)
Administration Assessment (1Q)
Date:
Store: |  |  |  | Time In:
Time Out:
M.O.D.:
Weather:
Cash Handling
Verify change fund is the correct amount (cash awareness chart might have to be used)
Cash Awareness chart being utilized, working properly (I/A)
Proper deposit procedures being followed (no more than one deposit in the safe at a time, delivered to the bank before lunch, one deposit per bag)
Credit cards & Deposits being verified daily/Absolutely zero deposits validated late since last report (refer to discrepancy report)
Cash Handling Policy being adhered to? Hops following 60/60 rule? POS cash drop box being utilized?
Proper turn-in slips being utilized? Turn in area clean and organized with proper supplies?
Safe combination being changed monthly? Cash drawer locked at all times?
Safety Documentations, Pest Control
Employee acknowledgment signatures in MSDS book, current
Insurance claims reporting guide posted or saved to desk top (manager on duty must be able to locate easily)
Pest Control Reports on hand (trailing 12 months) - Pest Control License (current), MSDS Sheets, service contract, certificate of insurance on hand (current)
LSM/Complaints/Service
Is Fantrak redemption appropriate, Is the employees aware of our score
Are "be my guest" cards, coupons, and gift cards on hand; and are they secure
Are coupons being utilized for late tickets and mistakes properly
Is "When Something goes wrong forms" on hand, easily accessible, and being used correctly
Scheduling/Staffing/Meetings
Is GM clocking in and out and working their schedule (Leaving early or arriving late)
Schedule shifts are staggered, and scheduled with the appropriate staff
Prior year weekly posted with the schedule
Overtime being authorized by supervisor before scheduling
Proper abbreviations being used on schedule for changes, employee hours added up and circled, and total hours added up and totaled at close.
Schedule being emailed to Supervisor by 10am on Friday and posted by 10am on Saturday for following week
Is General Manager working til "close" on Saturday & 1 Sun shift once a month, proper nights (ex. 1/2 price burger nights, football Fridays, 10am Friday Lunch)
Crew meetings & Manager meetings being held separately at least once a month. Minutes being taken & sign ins for both meetings. Must have on hand
Training
Training program via E-learning and is there a tracking chart posted
Is the temper chart up to date and being used correctly
Proficiency Checklist filled out for each employee, Hop Certification for carhops,
Prep chart being used properly (Weather, build to's, no missing entries, no forgery, waste being charted, and previous four weeks on hand)
Employee reviews (90 days & Annual)
Sonic Ops Manual accessible for all managers (Must be able to login and find)
Food Safety
Sani strips on hand to test quat & chlorine levels and utilized, back ups on hand
Sonic Safe Log & Internal Meat Temp Log being accurately filled out, no pencil whipping
All Managers Serve Safe and FSA certified (Must be able to find all appropriate documentation)
Current Food Safety Audit packet saved on CPU desk top (assistants must be able to find it)
Scored better than 90% on last Health Inspection (I/A)
Inventory Control
Are all vendors being checked in properly and receive/transfers being entered into the computer, daily
Weekly inventory being taken and entered (verify in RMS)
Order forms being filled out correctly
Previous Months Food Cost Variance 1.5% or less
Employee's ringing up their food items, receipt must accompany item
Legal Documentation
Proper amount of applications on hand and is a job description being given with every application
5/1 Federal, Min Wage, Worker's Comp, Fair Employment posters posted and current
Employee file must have the following (Applicaton, Ack form, I9, W4's, tip agreement, cash handling policy, employee orien, interview guide. Prof.checklist)
Certificate of ownership posted and correct
Sales tax license posted
Dairy License, city license, and county license posted and current
Management/Desk Area/Administration
Any Mailer post marked late in previous 3 weeks
Is the GM reviewing the Nightly Report daily?
Weekly & Monthly duty lists being utilized and initialed
Position Duty list (carhop, cook, & manager) being utilized and initialed
Store folder is current
POS emergency kit on hand and fully stocked
Desk Area and CPU clean and organized
Managers communication log being utilized
Emergency phone numbers posted and up to date
NOTES
Color Chart
1)
|  | Excel Expectations |  |  | 3
2) | Needs Improvement |  |  |  | 2
|  |  | Failing |  | 1
3)
4)
5)
6)
7)
8)
9)
10)
11)
12)

## Admin Asses (2Q)
Administration Assessment (2Q)
Date:
Store: |  |  |  | Time In:
Time Out:
M.O.D.:
Weather:
Cash Handling
Verify change fund is the correct amount (cash awareness chart might have to be used)
Cash Awareness chart being utilized, working properly (I/A)
Proper deposit procedures being followed (no more than one deposit in the safe at a time, delivered to the bank before lunch, one deposit per bag)
Credit cards & Deposits being verified daily/Absolutely zero deposits validated late since last report (refer to discrepancy report)
Cash Handling Policy being adhered to? Hops following 60/60 rule? POS cash drop box being utilized?
Proper turn-in slips being utilized? Turn in area clean and organized with proper supplies?
Safe combination being changed monthly? Cash drawer locked at all times?
Safety Documentations, Pest Control
Employee acknowledgment signatures in MSDS book, current
Insurance claims reporting guide posted or saved to desk top (manager on duty must be able to locate easily)
Pest Control Reports on hand (trailing 12 months) - Pest Control License (current), MSDS Sheets, service contract, certificate of insurance on hand (current)
LSM/Complaints/Service
Is Fantrak redemption appropriate, Is the employees aware of our score
Are "be my guest" cards, coupons, and gift cards on hand; and are they secure
Are coupons being utilized for late tickets and mistakes properly
Is "When Something goes wrong forms" on hand, easily accessible, and being used correctly
Scheduling/Staffing/Meetings
Is GM clocking in and out and working their schedule (Leaving early or arriving late)
Schedule shifts are staggered, and scheduled with the appropriate staff
Prior year weekly posted with the schedule
Overtime being authorized by supervisor before scheduling
Proper abbreviations being used on schedule for changes, employee hours added up and circled, and total hours added up and totaled at close.
Schedule being emailed to Supervisor by 10am on Friday and posted by 10am on Saturday for following week
Is General Manager working til "close" on Saturday & 1 Sun shift once a month, proper nights (ex. 1/2 price burger nights, football Fridays, 10am Friday Lunch)
Crew meetings & Manager meetings being held separately at least once a month. Minutes being taken & sign ins for both meetings. Must have on hand
Training
Training program via E-learning and is there a tracking chart posted
Is the temper chart up to date and being used correctly
Proficiency Checklist filled out for each employee, Hop Certification for carhops,
Prep chart being used properly (Weather, build to's, no missing entries, no forgery, waste being charted, and previous four weeks on hand)
Employee reviews (90 days & Annual)
Sonic Ops Manual accessible for all managers (Must be able to login and find)
Food Safety
Sani strips on hand to test quat & chlorine levels and utilized, back ups on hand
Sonic Safe Log & Internal Meat Temp Log being accurately filled out, no pencil whipping
All Managers Serve Safe and FSA certified (Must be able to find all appropriate documentation)
Current Food Safety Audit packet saved on CPU desk top (assistants must be able to find it)
Scored better than 90% on last Health Inspection (I/A)
Inventory Control
Are all vendors being checked in properly and receive/transfers being entered into the computer, daily
Weekly inventory being taken and entered (verify in RMS)
Order forms being filled out correctly
Previous Months Food Cost Variance 1.5% or less
Employee's ringing up their food items, receipt must accompany item
Legal Documentation
Proper amount of applications on hand and is a job description being given with every application
5/1 Federal, Min Wage, Worker's Comp, Fair Employment posters posted and current
Employee file must have the following (Applicaton, Ack form, I9, W4's, tip agreement, cash handling policy, employee orien, interview guide. Prof.checklist)
Certificate of ownership posted and correct
Sales tax license posted
Dairy License, city license, and county license posted and current
Management/Desk Area/Administration
Any Mailer post marked late in previous 3 weeks
Is the GM reviewing the Nightly Report daily?
Weekly & Monthly duty lists being utilized and initialed
Position Duty list (carhop, cook, & manager) being utilized and initialed
Store folder is current
POS emergency kit on hand and fully stocked
Desk Area and CPU clean and organized
Managers communication log being utilized
Emergency phone numbers posted and up to date
NOTES
Color Chart
1)
|  | Excel Expectations |  |  | 3
2) | Needs Improvement |  |  |  | 2
|  |  | Failing |  | 1
3)
4)
5)
6)
7)
8)
9)
10)
11)
12)

## Admin Asses (3Q)
Administration Assessment (3Q)
Date:
Store: |  |  |  | Time In:
Time Out:
M.O.D.:
Weather:
Cash Handling
Verify change fund is the correct amount (cash awareness chart might have to be used)
Cash Awareness chart being utilized, working properly (I/A)
Proper deposit procedures being followed (no more than one deposit in the safe at a time, delivered to the bank before lunch, one deposit per bag)
Credit cards & Deposits being verified daily/Absolutely zero deposits validated late since last report (refer to discrepancy report)
Cash Handling Policy being adhered to? Hops following 60/60 rule? POS cash drop box being utilized?
Proper turn-in slips being utilized? Turn in area clean and organized with proper supplies?
Safe combination being changed monthly? Cash drawer locked at all times?
Safety Documentations, Pest Control
Employee acknowledgment signatures in MSDS book, current
Insurance claims reporting guide posted or saved to desk top (manager on duty must be able to locate easily)
Pest Control Reports on hand (trailing 12 months) - Pest Control License (current), MSDS Sheets, service contract, certificate of insurance on hand (current)
LSM/Complaints/Service
Is Fantrak redemption appropriate, Is the employees aware of our score
Are "be my guest" cards, coupons, and gift cards on hand; and are they secure
Are coupons being utilized for late tickets and mistakes properly
Is "When Something goes wrong forms" on hand, easily accessible, and being used correctly
Scheduling/Staffing/Meetings
Is GM clocking in and out and working their schedule (Leaving early or arriving late)
Schedule shifts are staggered, and scheduled with the appropriate staff
Prior year weekly posted with the schedule
Overtime being authorized by supervisor before scheduling
Proper abbreviations being used on schedule for changes, employee hours added up and circled, and total hours added up and totaled at close.
Schedule being emailed to Supervisor by 10am on Friday and posted by 10am on Saturday for following week
Is General Manager working til "close" on Saturday & 1 Sun shift once a month, proper nights (ex. 1/2 price burger nights, football Fridays, 10am Friday Lunch)
Crew meetings & Manager meetings being held separately at least once a month. Minutes being taken & sign ins for both meetings. Must have on hand
Training
Training program via E-learning and is there a tracking chart posted
Is the temper chart up to date and being used correctly
Proficiency Checklist filled out for each employee, Hop Certification for carhops,
Prep chart being used properly (Weather, build to's, no missing entries, no forgery, waste being charted, and previous four weeks on hand)
Employee reviews (90 days & Annual)
Sonic Ops Manual accessible for all managers (Must be able to login and find)
Food Safety
Sani strips on hand to test quat & chlorine levels and utilized, back ups on hand
Sonic Safe Log & Internal Meat Temp Log being accurately filled out, no pencil whipping
All Managers Serve Safe and FSA certified (Must be able to find all appropriate documentation)
Current Food Safety Audit packet saved on CPU desk top (assistants must be able to find it)
Scored better than 90% on last Health Inspection (I/A)
Inventory Control
Are all vendors being checked in properly and receive/transfers being entered into the computer, daily
Weekly inventory being taken and entered (verify in RMS)
Order forms being filled out correctly
Previous Months Food Cost Variance 1.5% or less
Employee's ringing up their food items, receipt must accompany item
Legal Documentation
Proper amount of applications on hand and is a job description being given with every application
5/1 Federal, Min Wage, Worker's Comp, Fair Employment posters posted and current
Employee file must have the following (Applicaton, Ack form, I9, W4's, tip agreement, cash handling policy, employee orien, interview guide. Prof.checklist)
Certificate of ownership posted and correct
Sales tax license posted
Dairy License, city license, and county license posted and current
Management/Desk Area/Administration
Any Mailer post marked late in previous 3 weeks
Is the GM reviewing the Nightly Report daily?
Weekly & Monthly duty lists being utilized and initialed
Position Duty list (carhop, cook, & manager) being utilized and initialed
Store folder is current
POS emergency kit on hand and fully stocked
Desk Area and CPU clean and organized
Managers communication log being utilized
Emergency phone numbers posted and up to date
NOTES
Color Chart
1)
|  | Excel Expectations |  |  | 3
2) | Needs Improvement |  |  |  | 2
|  |  | Failing |  | 1
3)
4)
5)
6)
7)
8)
9)
10)
11)
12)

## Admin Asses (4Q)
Administration Assessment (4Q)
Date:
Store: |  |  |  | Time In:
Time Out:
M.O.D.:
Weather:
Cash Handling
Verify change fund is the correct amount (cash awareness chart might have to be used)
Cash Awareness chart being utilized, working properly (I/A)
Proper deposit procedures being followed (no more than one deposit in the safe at a time, delivered to the bank before lunch, one deposit per bag)
Credit cards & Deposits being verified daily/Absolutely zero deposits validated late since last report (refer to discrepancy report)
Cash Handling Policy being adhered to? Hops following 60/60 rule? POS cash drop box being utilized?
Proper turn-in slips being utilized? Turn in area clean and organized with proper supplies?
Safe combination being changed monthly? Cash drawer locked at all times?
Safety Documentations, Pest Control
Employee acknowledgment signatures in MSDS book, current
Insurance claims reporting guide posted or saved to desk top (manager on duty must be able to locate easily)
Pest Control Reports on hand (trailing 12 months) - Pest Control License (current), MSDS Sheets, service contract, certificate of insurance on hand (current)
LSM/Complaints/Service
Is Fantrak redemption appropriate, Is the employees aware of our score
Are "be my guest" cards, coupons, and gift cards on hand; and are they secure
Are coupons being utilized for late tickets and mistakes properly
Is "When Something goes wrong forms" on hand, easily accessible, and being used correctly
Scheduling/Staffing/Meetings
Is GM clocking in and out and working their schedule (Leaving early or arriving late)
Schedule shifts are staggered, and scheduled with the appropriate staff
Prior year weekly posted with the schedule
Overtime being authorized by supervisor before scheduling
Proper abbreviations being used on schedule for changes, employee hours added up and circled, and total hours added up and totaled at close.
Schedule being emailed to Supervisor by 10am on Friday and posted by 10am on Saturday for following week
Is General Manager working til "close" on Saturday & 1 Sun shift once a month, proper nights (ex. 1/2 price burger nights, football Fridays, 10am Friday Lunch)
Crew meetings & Manager meetings being held separately at least once a month. Minutes being taken & sign ins for both meetings. Must have on hand
Training
Training program via E-learning and is there a tracking chart posted
Is the temper chart up to date and being used correctly
Proficiency Checklist filled out for each employee, Hop Certification for carhops,
Prep chart being used properly (Weather, build to's, no missing entries, no forgery, waste being charted, and previous four weeks on hand)
Employee reviews (90 days & Annual)
Sonic Ops Manual accessible for all managers (Must be able to login and find)
Food Safety
Sani strips on hand to test quat & chlorine levels and utilized, back ups on hand
Sonic Safe Log & Internal Meat Temp Log being accurately filled out, no pencil whipping
All Managers Serve Safe and FSA certified (Must be able to find all appropriate documentation)
Current Food Safety Audit packet saved on CPU desk top (assistants must be able to find it)
Scored better than 90% on last Health Inspection (I/A)
Inventory Control
Are all vendors being checked in properly and receive/transfers being entered into the computer, daily
Weekly inventory being taken and entered (verify in RMS)
Order forms being filled out correctly
Previous Months Food Cost Variance 1.5% or less
Employee's ringing up their food items, receipt must accompany item
Legal Documentation
Proper amount of applications on hand and is a job description being given with every application
5/1 Federal, Min Wage, Worker's Comp, Fair Employment posters posted and current
Employee file must have the following (Applicaton, Ack form, I9, W4's, tip agreement, cash handling policy, employee orien, interview guide. Prof.checklist)
Certificate of ownership posted and correct
Sales tax license posted
Dairy License, city license, and county license posted and current
Management/Desk Area/Administration
Any Mailer post marked late in previous 3 weeks
Is the GM reviewing the Nightly Report daily?
Weekly & Monthly duty lists being utilized and initialed
Position Duty list (carhop, cook, & manager) being utilized and initialed
Store folder is current
POS emergency kit on hand and fully stocked
Desk Area and CPU clean and organized
Managers communication log being utilized
Emergency phone numbers posted and up to date
NOTES
Color Chart
1)
|  | Excel Expectations |  |  | 3
2) | Needs Improvement |  |  |  | 2
|  |  | Failing |  | 1
3)
4)
5)
6)
7)
8)
9)
10)
11)
12)

## EmpChecklist (1Q)
EMPLOYEE NAME | Tip Reporting Ackn. Hops Only | Cash Handling Policy | Application | Copy of IDs | Interview | STAR Quizzes Current | Prof Ck. List Complete | Excel Carhop Cert. | 3 Month Review Complete | Annual Review Next Due | Orientation Checklist | Misc. Notes
EMPLOYEE NAME | Tip Reporting Ackn. Hops Only | Cash Handling Policy | Application | Copy of IDs | Interview | STAR Quizzes Current | Prof Ck List Complete | Excel Carhop Cert | 3 Month Review Complete | Annual Review Next Due | Orientation Checklist | Misc. Notes

## EmpChecklist (2Q)
EMPLOYEE NAME | Tip Reporting Ackn. Hops Only | Cash Handling Policy | Application | Copy of IDs | Interview | STAR Quizzes Current | Prof Ck. List Complete | Excel Carhop Cert. | 3 Month Review Complete | Annual Review Next Due | Orientation Checklist | Misc. Notes
EMPLOYEE NAME | Tip Reporting Ackn. Hops Only | Cash Handling Policy | Application | Copy of IDs | Interview | STAR Quizzes Current | Prof Ck List Complete | Excel Carhop Cert | 3 Month Review Complete | Annual Review Next Due | Orientation Checklist | Misc. Notes

## EmpChecklist (3Q)
EMPLOYEE NAME | Tip Reporting Ackn. Hops Only | Cash Handling Policy | Application | Copy of IDs | Interview | STAR Quizzes Current | Prof Ck. List Complete | Excel Carhop Cert. | 3 Month Review Complete | Annual Review Next Due | Orientation Checklist | Misc. Notes
EMPLOYEE NAME | Tip Reporting Ackn. Hops Only | Cash Handling Policy | Application | Copy of IDs | Interview | STAR Quizzes Current | Prof Ck List Complete | Excel Carhop Cert | 3 Month Review Complete | Annual Review Next Due | Orientation Checklist | Misc. Notes

## EmpChecklist (4Q)
EMPLOYEE NAME | Tip Reporting Ackn. Hops Only | Cash Handling Policy | Application | Copy of IDs | Interview | STAR Quizzes Current | Prof Ck. List Complete | Excel Carhop Cert. | 3 Month Review Complete | Annual Review Next Due | Orientation Checklist | Misc. Notes
EMPLOYEE NAME | Tip Reporting Ackn. Hops Only | Cash Handling Policy | Application | Copy of IDs | Interview | STAR Quizzes Current | Prof Ck List Complete | Excel Carhop Cert | 3 Month Review Complete | Annual Review Next Due | Orientation Checklist | Misc. Notes